EntityName

Fire Prevention Plan

Policy Statement:

It is the policy of EntityName to notify all employees of the elements of the fire prevention plan and to require employees to read and understand the information presented in this plan

Responsibility

It is the responsibility of managers and supervisors to enforce this policy. Failure to adhere to this policy may result in disciplinary action

Fire Prevention Plan Elements

The following is a list of common fire hazards and our prevention strategies:

Fire Hazard	Prevention Strategy

(List the fire hazards present in your facilities and the methods used to control those hazards. Here are some suggestions. Remove the ones that don’t apply, and add others as necessary:)

Arson	• Building security systems

• Emergency phone system

Cooking	• Limited to kitchen areas

• Routine inspection and maintenance

Smoking materials 	• No smoking policy

Open flame (candles, incense, etc.) 	• Open flame prohibited

Electrical wiring & appliances	• Routine inspection and maintenance

• Use of UL approved equipment

• Temporary extension cord usage only

• No multi-plug adapters

Accumulation of combustibles	• Routine inspections

• Maintain clear egress and clearances

Flammable liquids	• Approved flammable liquid storage

• Hazardous waste disposal program

• Bonding and grounding

Halogen lamps	• No halogen lamps permitted

Space heaters	• No space heaters permitted

Hot work (cutting, welding)	• Hot work permit policy

Residential furnishings	• Fire retardant purchasing policy

Building fire alarm, detection, and notification systems

(List the fire alarm systems you have in your buildings, for example:)

• Smoke and heat detectors

• Manually activated pull stations

Building fire suppression systems

(List the fire suppression  systems you have in your buildings, for example:)

Sprinkler systems

• Water

• Halon

• Commercial kitchen hood exhaust/suppression systems (foam)

Standpipe systems

• Wet

• Dry

Fire extinguishers

• Multi-purpose dry chemical (Class ABC fires)

• Water (Class A fires)

• Carbon dioxide (Class B and C fires)

Fire rated doors and fire-resistant barriers

(Describe the fire barrier systems you have in your buildings:)

Names and Job Titles of those personnel responsible for maintenance of equipment and systems installed to prevent or control ignition sources or fires:

(List the persons who are responsible for your fire systems, including contact information:)

Housekeeping

EntityName controls accumulations of flammable and combustible waste materials so that they do not contribute to a fire emergency. The following are housekeeping procedures used to control such accumulations:

• 	Combustible and hazardous waste is collected, stored, and disposed in a safe and legal manner.

• 	Managers and supervisors conduct periodic inspections of our facilities for excessive accumulations of combustible materials.

• 	EntityName provides routine and comprehensive housekeeping services for all facilities.

General housekeeping requirements

• 	Keep stairwells, exits and passageways free of obstructions at all times.

• 	Keep access to fire protection equipment (pull stations and fire extinguishers) free and clear.

• 	Store flammable and combustible liquids in approved storage containers and cabinets.

• 	Keep storage 18 inches away from sprinkler deflectors and 24 inches from the ceiling in non-sprinklered buildings.

• 	Assure fire doors are unobstructed and not blocked open.

Training

All employees will review, upon initial assignment, those parts of the fire prevention plan that they must know to protect themselves in the event of a fire emergency. Records are kept of all training activities documenting the type of training, persons trained, and date of training.

The written plan is made available for employee review.

Fire safety training outline:

• Classes of fire

• Potential fire hazards on the job

• Fire prevention procedures

• Building fire protective features

• How to recognize fire exits

• Location and types of fire prevention equipment

• Steps to take in the event of fire or smoke

• How to use fire extinguishers and their limitations

Maintenance

EntityName properly maintains equipment and systems installed on heat producing equipment to prevent accidental ignition of combustible materials. Heat producing equipment such as burners, heat exchangers, boilers, ovens, stoves, fryers, etc., are properly maintained and kept clean of flammable residues. In addition, flammables are not stored close to these pieces of equipment.